## Slide 1
Engineparts Physical Layout – EP & AAAS
Property Boundary
Telkom boundary check legality
Oil Storage - Flammable
Engineparts Computer Room
AAAS Computer Room
Fibre
!
Trenching or overhead cable support
May require additional aircon & UPS installation
Will require fibre network switch
Will require fibre network switch
MOTUS
MOTUS

## Slide 2
Engineparts Server Layout - Current
Service Provider
Engineparts
NCC
MOTUS
Vodacom Data Capacity
ADSL Data Capacity
Telephone
Main Server
Tomcat 1
Tomcat 2
Tomcat 3
Firewall 1
Firewall 2
On-line Customer App Server failover & load balancer
On-line Customer Firewall failover
On-line Customer base via Internet
Database is backed up and transferred to RED ……
Virtual Server snapshot is retained on main server
Restore of Database backup needs recoverability testing done more often
In the event of computer room catastrophe – there is no backup facility to fail-over to

## Slide 3
Engineparts Fail-Over Potential Option with AAAS
< 1000 meters fibre with no legal boundaries to be installed
AAAS
MOTUS
Main Data Capacity
Main Server
Failover
Tomcat 4
Tomcat 5
On-line Customer Firewall failover
Firewall 3
Recovery / Failover Test Server
Service Provider
NCC
On-line Customer App Server failover
Execution strategy for an IT Good Governance
Database is backed up and transferred to RED ……
Additionally backup transferred to Recovery server & recovery tested daily
Virtual Server snapshot is retained on main server & transferred to AAAS & recovery tested daily
Additional infrastructure required – high level
Agreement with AAAS to install additional equipment & to use currently underutilised capacity
Enhance MOTUS based comms to cater for additional failover load
Install overhead fibre between Engineparts & AAAS – no Telkom boundaries
Require 2 high speed switches
Harvest current spare servers at Engineparts if not beyond end-of-life
Engineparts
Intent:
Use AAAS technology facilities to provide Engineparts with BCP & DRP good governance strategy

## Slide 4
Engineparts Server Layout Recovery & Structure Planning - Combined
Service Provider
< 1000 meters fibre with no legal boundaries – will require 2 switches
AAAS
Engineparts
NCC
MOTUS
Main Data Capacity
Additional Data Capacity
Telephone
Main Server
Tomcat 1
Tomcat 2
Main Tomcat 3
Firewall 1
Firewall 2
On-line Customer App Server failover & load balancer
On-line Customer Firewall failover
Main Data Capacity
Main Server
Failover
Tomcat 4
Tomcat 5
On-line Customer App Server failover
On-line Customer Firewall failover
Firewall 3
On-line Customer base via Internet
Recovery / Failover Test Server